## B-Daten (hidden)
DATUM | sampling time | weather code | air temp. min | air temp. max | rainfall | inflow volume | feces (Nf10) | effluent volume (Lf 10) | screenings | grit | unused_11 | sludge | surplus quantitiy HF 30 | unused_14 | unused_15 | dry sub.thickened sludge | dewatered quantitiy 1 | dry sub.dewatered sludge 1 | unused_19 | unused_20 | unused_21 | unused_22 | unused_23 | unused_24 | unused_25 | unused_26 | unused_27 | unused_28 | unused_29 | unused_30 | unused_31 | unused_32 | unused_33 | unused_34 | unused_35 | unused_36 | unused_37 | unused_38 | Trafo 1 WWTP Counter | Trafo 2 WWTP Counter | unused_41 | unused_42 | unused_43 | unused_44 | unused_45 | surplus quantitiy 1 | surplus quantitiy 2 | extern sludge quantitiy HF 40 | dewatered quantitiy 2 | lime milk JUF 10.2 | water mixing tank JUF 10 | temp. inf. | pH-value inf. | BOD 5 inf. | COD inf. | P total inf. | NH4-N inf. | NO3-N inf. | NO2-N inf. | N total inf. | TNb inf. | unused_62 | suspended solids inf. | unused_64 | turbidity inf. | 24h-example infl. | dry sub.return sludge 1 | dry sub.return sludge 2 | unused_69 | dry sub.dewatered sludge 2 | unused_71 | unused_72 | unused_73 | unused_74 | unused_75 | unused_76 | unused_77 | temp. effl. | pH-value effl. | BOD 5 effl. | COD effl. | p total effl. | NH4-N effl. | NO3-N effl. | NO2-N effl. | N total effl. | TNb effl. | unused_88 | suspended solids effl. | unused_90 | turbidity effl. | 24h-example effl. | unused_93 | unused_94 | sight depth effl. | unused_96 | unused_97 | unused_98 | unused_99 | unused_100 | unused_101 | unused_102 | unused_103 | unused_104 | unused_105 | sludge volume tank1.1 | dry substance tank1.1 | microscopic picture tank1.1 | unused_109 | unused_110 | oxygen min1 tank1.1 | oxygen min2 tank1.1 | unused_113 | unused_114 | oxygen max1 tank1.1 | oxygen max2 tank1.1 | unused_117 | unused_118 | sludge volume tank1.2 | dry substance tank1.2 | microscopic picture tank1.2 | unused_122 | unused_123 | oxygen min1 tank1.2 | oxygen min2 tank1.2 | unused_126 | unused_127 | oxygen max1 tank1.2 | oxygen max2 tank1.2 | unused_130 | unused_131 | sludge volume tank2.1 | dry substance tank2.1 | microscopic picture tank2.1 | unused_135 | unused_136 | oxygen min1 tank2.1 | oxygen min2 tank2.1 | unused_139 | unused_140 | oxygen max1 tank2.1 | oxygen max2 tank2.1 | unused_143 | unused_144 | sludge volume tank2.2 | dry substance tank2.2 | microscopic picture tank2.2 | unused_148 | unused_149 | oxygen min1 tank2.2 | oxygen min2 tank2.2 | unused_152 | unused_153 | oxygen max1 tank2.2 | oxygen max2 tank2.2
2023-06-01 | 9:00 | 1 | 18 | 28 |  | 14638.83 | 0 | 14620 | 2 |  |  | 28 | 544.64 |  |  | 12.31 | 0.69 | [21 empty] | 4108 | 2752 | [5 empty] | 4614.74 | 4465 | 0 | 130.9 | 6.72 | 6.13 | 0 | 0 | [13 empty] | 8.194 |  |  | 28.07 | [7 empty] | 22.53 | 7.69 | 28 | 31.9 | 1.95 | 8.3 | 2.43 | 0.233 | 20.4 | 20.4 |  | 19 |  | 4.04 | 1 | [18 empty] | 5.96 | 5.96 |  |  | 7.1 | 7.1 | [7 empty] | 4.1 | 6.83 |  |  | 5.7 | 8.31 |  |  | 1150 | 3.2 | trend- |  |  | 0.51 | 0.51 |  |  | 0.87 | 0.87 |  |  | 1150 | 3.2 | trend- |  |  | 0.53 | 0.26 |  |  | 0.72 | 0.96
2023-06-02 | [5 empty] | 15503.24 | 0 | 15750 |  |  |  |  | 0.01 |  |  |  | 0.69 | [21 empty] | 4177 | 2834 | [5 empty] | 4264.82 | 4723.56 | 0 | 2.78 | 0 | 0 | 0 | 0 | [24 empty] | 22.79 | 7.69 | 38 | 38.4 |  | 7 | 1.88 | 0.126 | 11.7 | 11.7 |  | 20 |  | 2.36 | 1 | [18 empty] | 5.96 | 5.96 |  |  | 6.94 | 6.94 | [7 empty] | 3.34 | 6.76 |  |  | 4.77 | 8.09 | [7 empty] | 0.46 | 0.46 |  |  | 0.99 | 0.99 | [7 empty] | 0.35 | 0.26 |  |  | 0.65 | 1.61
2023-06-03 | [5 empty] | 15165.31 | 0 | 15400 |  |  |  |  | 0.01 |  |  |  | 0.69 | [21 empty] | 4112 | 2994 | [5 empty] | 4105.53 | 5081.7 | 0 | 2.78 | 0 | 0 | 0 | 0 | [24 empty] | 22.92 | 7.67 | [31 empty] | 5.93 | 5.93 |  |  | 6.65 | 6.65 | [7 empty] | 3.04 | 6.75 |  |  | 3.78 | 7.74 | [7 empty] | 0.41 | 0.41 |  |  | 0.75 | 0.75 | [7 empty] | 0.4 | 0.27 |  |  | 0.87 | 0.44
2023-06-04 | [5 empty] | 14283.28 | 0 | 15208 |  |  |  |  | 0 |  |  |  | 0.69 | [21 empty] | 4048 | 3060 | [5 empty] | 4117.28 | 4947.91 | 0 | 2.78 | 0.01 | 0 | 0 | 0 | [24 empty] | 23.2 | 7.69 | [31 empty] | 5.56 | 5.56 |  |  | 6.59 | 6.59 | [7 empty] | 2.8 | 6.48 |  |  | 7.4 | 7.7 | [7 empty] | 0.42 | 0.42 |  |  | 0.69 | 0.69 | [7 empty] | 0.44 | 0.3 |  |  | 0.61 | 0.37
2023-06-05 | 9:00 | 1 | 20 | 27 | 0 | 14477.24 | 0 | 15321 |  |  |  |  | 0.13 |  |  |  | 0.69 | [21 empty] | 4139 | 3097 | [5 empty] | 5367.2 | 5979.37 | 0 | 2.78 | 0.06 | 0 | 0 | 0 | [13 empty] | 8.256 | [10 empty] | 23.25 | 7.67 | 14 | 31.2 | 1.8 | 6.44 | 2.01 | 0.176 | 12.8 | 12.8 |  | 13 |  | 4.94 | 1 | [18 empty] | 5.33 | 5.33 |  |  | 6.24 | 6.24 | [7 empty] | 7.37 | 6.37 |  |  | 9.04 | 7.51 |  |  | 1450 | 3.706 |  |  |  | 0.39 | 0.39 |  |  | 0.65 | 0.65 |  |  | 1450 | 3.706 |  |  |  | 0.35 | 0.27 |  |  | 0.58 | 0.36
2023-06-06 | 9:00 | 1 | 18 | 29 | 0 | 13342.16 | 0 | 14147.34 |  |  |  |  | 0 |  |  |  | 0.69 | [21 empty] | 4130 | 2948 | [5 empty] | 5765.17 | 5712.17 | 0 | 2.78 | 0.12 | 0 | 0 | 0 | [24 empty] | 23.2 | 7.65 | 34 | 35.9 |  | 6.64 | 2.11 | 0.172 | 13.2 | 13.2 |  | 22 |  |  | 1 | [18 empty] | 5.15 | 5.15 |  |  | 5.88 | 5.88 | [7 empty] | 7.96 | 6.18 |  |  | 9.46 | 7.17 |  |  |  |  | trend- |  |  | 0.4 | 0.4 |  |  | 0.61 | 0.61 |  |  |  |  | trend- |  |  | 0.41 | 0.29 |  |  | 0.52 | 0.34
2023-06-07 | 9:00 | 1 | 19 | 27 | 0 | 13544.53 | 0 | 14327.15 |  | 7 |  | 14 | 0 |  |  |  | 0.69 | [21 empty] | 3890 | 3021 | [5 empty] | 6036.55 | 5727.55 | 0 | 2.78 | 0.15 | 0 | 0 | 0 | 379 | 478 | 6.14 | 16 | 0.644 | 0.144 | 69.7 | 69.7 |  | 299 |  | 208 | 1 | [11 empty] | 23.31 | 7.69 | 1 | 106 | 3.99 | 6.88 | 2.42 | 0.177 | 15.5 | 15.5 |  | 136 |  | 59.7 | 1 | [18 empty] | 4.93 | 4.93 |  |  | 5.83 | 5.83 | [7 empty] | 7.66 | 6.17 |  |  | 9.92 | 7.27 | [7 empty] | 0.42 | 0.42 |  |  | 0.69 | 0.69 | [7 empty] | 0.41 | 0.28 |  |  | 0.52 | 0.33
2023-06-08 | [5 empty] | 13701.9 | 0 | 14359.34 | 2 |  |  |  | 0 |  |  |  | 0.69 | [21 empty] | 3620 | 2960 | [5 empty] | 6067.82 | 5720.1 | 0 | 2.78 | 0.16 | 0 | 0 | 0 | [13 empty] | 8.196 | [10 empty] | 23.47 | 7.72 | 23 | 35.3 | 2.34 | 7.56 | 2.24 | 0.233 | 12.5 | 12.5 |  | 31 |  | 8.54 | 1 | [18 empty] | 5 | 5 |  |  | 6.05 | 6.05 | [7 empty] | 7.38 | 6.14 |  |  | 9.71 | 7.19 |  |  | 1775 | 4.084 |  |  |  | 0.42 | 0.42 |  |  | 2.63 | 2.63 |  |  | 1775 | 4.084 |  |  |  | 0.34 | 0.26 |  |  | 0.53 | 0.32
2023-06-09 | [5 empty] | 14327.98 | 0 | 15024.1 |  |  |  |  | 0 |  |  |  | 0.69 | [21 empty] | 3684 | 3010 | [5 empty] | 6356.97 | 5898.79 | 0 | 2.78 | 0.15 | 0 | 0 | 0 | [24 empty] | 23.59 | 7.72 | 13 | 36.7 | 1.89 | 11.25 | 2.54 | 0.288 | 17.32 | 17.32 |  | 12 |  |  | 1 | [18 empty] | 5.8 | 5.8 |  |  | 6.95 | 6.95 | [7 empty] | 7.46 | 6.26 |  |  | 9.39 | 8.3 | [7 empty] | 0.39 | 0.39 |  |  | 0.59 | 0.59 | [7 empty] | 0.39 | 0.27 |  |  | 0.51 | 0.31
2023-06-10 |  | 1 | 20 | 28 | 0 | 15294.67 | 0 | 16309.98 |  |  |  |  | 0.64 |  |  |  | 0.69 | [21 empty] | 3702 | 3110 | [5 empty] | 6574.23 | 6282.56 | 0 | 2.78 | 0.16 | 0 | 0 | 0 | [24 empty] | 23.58 | 7.58 | [31 empty] | 6.53 | 6.53 |  |  | 7.3 | 7.3 | [7 empty] | 7.76 | 7.46 |  |  | 9.62 | 8.7 | [7 empty] | 0.38 | 0.38 |  |  | 0.55 | 0.55 | [7 empty] | 0.35 | 0.26 |  |  | 0.5 | 0.31
2023-06-11 |  | 1 | 21 | 29 | 0 | 15525.39 | 0 | 16548.6 |  |  |  |  | 0.31 |  |  |  | 0.69 | [21 empty] | 3707 | 3112 | [5 empty] | 6562.39 | 6449.45 | 0 | 2.78 | 0.17 | 0 | 0 | 0 | [24 empty] | 23.92 | 7.43 | [31 empty] | 6.32 | 6.32 |  |  | 7.34 | 7.34 | [7 empty] | 7.16 | 7.27 |  |  | 9.61 | 8.7 | [7 empty] | 0.38 | 0.38 |  |  | 0.56 | 0.56 | [7 empty] | 0.37 | 0.26 |  |  | 0.52 | 0.31
2023-06-12 | 9:00 | 3 | 18 | 28 | 5.8 | 14842.35 | 0 | 15672.75 |  |  |  |  | 0.35 |  |  |  | 0.69 | [21 empty] | 3717 | 2953 | [5 empty] | 6407.05 | 6085.41 | 0 | 2.78 | 0.17 | 0 | 0 | 0 | [24 empty] | 23.99 | 7.45 | [31 empty] | 6.56 | 6.56 |  |  | 7.5 | 7.5 | [7 empty] | 7.21 | 7.55 |  |  | 9.03 | 8.72 | [7 empty] | 0.39 | 0.39 |  |  | 0.56 | 0.56 | [7 empty] | 0.38 | 0.26 |  |  | 0.53 | 0.33
2023-06-13 | 9:00 | 1 | 19 | 29 | 0 | 14833.47 | 0 | 15339.41 |  |  |  |  | 0.91 |  |  |  | 0.69 | [21 empty] | 3902 | 2883 | [5 empty] | 6310.64 | 6053.81 | 0 | 2.78 | 0.18 | 0 | 0 | 0 | [24 empty] | 24.06 | 7.55 | 40 | 58.6 | 3.64 | 19 | 3.05 | 0.409 | 23.4 | 23.4 |  | 131 |  | 33.8 | 1 | [18 empty] | 6.47 | 6.47 |  |  | 7.56 | 7.56 | [7 empty] | 7.21 | 7.36 |  |  | 9.18 | 8.98 |  |  |  |  | trend- |  |  | 0.39 | 0.39 |  |  | 0.62 | 0.62 |  |  |  |  | trend- |  |  | 0.41 | 0.27 |  |  | 0.54 | 0.38
2023-06-14 | [5 empty] | 14926.73 | 0 | 10111.05 |  |  |  |  | 0.06 |  |  |  | 0.69 | [21 empty] | 3717 | 2900 | [5 empty] | 5574.29 | 5386.28 | 0 | 2.78 | 0.18 | 0 | 0 | 0 | 182 | 444 | 6.53 | 16.4 | 0.584 | 0.149 | 53.9 | 53.9 |  | 251 |  | 184 | 1 | [11 empty] | 24.44 | 7.63 | 33 | 37.2 | 2.13 |  | 2.6 | 0.353 | 21 | 21 |  | 21 |  | 7.49 | 1 | [18 empty] | 6.9 | 6.9 |  |  | 7.8 | 7.8 | [7 empty] | 0.3 | 0.27 |  |  | 9.25 | 8.61 |  |  | 1525 | 4.098 |  |  |  | 0.39 | 0.39 |  |  | 0.56 | 0.56 |  |  | 1525 | 4.098 |  |  |  | 0.39 | 0.27 |  |  | 0.54 | 0.32
2023-06-15 | [5 empty] | 18501.38 | 0 | 19253.86 |  |  |  |  | 0.17 |  |  |  | 0.69 | [21 empty] | 4148 | 3219 | [5 empty] | 8311.54 | 7889.27 | 0 | 2.78 | 0.17 | 0 | 0 | 0 | [12 empty] | 2 | [11 empty] | 23.77 | 7.7 | 23 | 43.9 | 3.39 | 17.5 | 2.9 | 0.424 | 21.4 | 21.4 |  | 26 |  | 7.75 | 1 | [18 empty] | 7.06 | 7.06 |  |  | 7.88 | 7.88 | [7 empty] | 0.29 | 0.27 |  |  | 0.53 | 0.27 | [7 empty] | 0.37 | 0.37 |  |  | 0.97 | 0.97 | [7 empty] | 0.34 | 0.25 |  |  | 0.58 | 0.34
2023-06-16 | [5 empty] | 16514.5 | 0 | 17139.73 |  |  |  |  | 0.96 |  |  |  | 0.69 | [21 empty] | 4207 | 3145 | [5 empty] | 6744.3 | 6539.35 | 0 | 2.78 | 0.16 | 0 | 0 | 0 | [24 empty] | 23.5 | 7.7 | [31 empty] | 7.34 | 7.34 |  |  | 7.84 | 7.84 | [7 empty] | 0.29 | 0.27 |  |  | 0.7 | 0.27 | [7 empty] | 0.39 | 0.39 |  |  | 0.74 | 0.74 | [7 empty] | 0.41 | 0.29 |  |  | 0.57 | 0.36
2023-06-17 | [5 empty] | 16150.2 | 0 | 16776.52 | 2 |  |  |  | 0 |  |  |  | 0.69 | [21 empty] | 4286 | 3194 | [5 empty] | 6410.25 | 6328.39 | 0 | 2.78 | 0.16 | 0 | 0 | 0 | [24 empty] | 23.16 | 7.72 | [31 empty] | 7.32 | 7.32 |  |  | 7.85 | 7.85 | [7 empty] | 0.32 | 0.27 |  |  | 0.51 | 0.27 | [7 empty] | 0.46 | 0.46 |  |  | 0.74 | 0.74 | [7 empty] | 0.44 | 0.29 |  |  | 0.55 | 0.36
2023-06-18 | [5 empty] | 16182.28 | 0 | 16729.23 |  |  |  |  | 0 |  |  |  | 0.69 | [21 empty] | 4278 | 3107 | [5 empty] | 6351.85 | 6326.59 | 0 | 2.78 | 0.16 | 0 | 0 | 0 | [24 empty] | 23.41 | 7.72 | [31 empty] | 6.61 | 6.61 |  |  | 7.93 | 7.93 | [7 empty] | 0.34 | 0.27 |  |  | 0.64 | 0.27 | [7 empty] | 0.45 | 0.45 |  |  | 0.69 | 0.69 | [7 empty] | 0.44 | 0.3 |  |  | 0.57 | 0.36
2023-06-19 | [5 empty] | 15657.41 | 0 | 16168.85 |  |  |  |  | 0 |  |  |  | 0.69 | [21 empty] | 4616 | 2993 | [5 empty] | 6151.87 | 6259.29 | 0 | 2.78 | 0.16 | 0 | 0 | 0 | [13 empty] | 7.44 | [10 empty] | 23.73 | 7.71 | 41 | 50 | 1.92 | 15.8 | 3.48 | 0.373 | 19.8 | 19.8 |  | 28 |  | 10.1 | 1 | [18 empty] | 6.11 | 6.11 |  |  | 7.43 | 7.43 |  |  | 1450 | 3.99 | trend- |  |  | 0.32 | 0.27 |  |  | 2.85 | 0.43 |  |  | 1600 | 4.6 | trend- |  |  | 0.43 | 0.43 |  |  | 0.66 | 0.66 |  |  | 1600 | 4.6 | trend- |  |  | 0.4 | 0.28 |  |  | 0.54 | 0.35
2023-06-20 |  | 1 |  |  | 0 | 15807.26 | 0 | 10582.85 |  |  |  | 28 | 0 |  |  |  | 0.69 | [21 empty] | 4494 | 3424 | [5 empty] | 5549.84 | 5660.68 | 0 | 2.78 | 0.15 | 0 | 0 | 0 | [24 empty] | 24.95 | 7.74 | 40 | 56.2 | 1.8 | 15 |  | 0.398 | 20.2 | 20.2 |  | 77 |  |  | 1 | [18 empty] | 0.34 | 0.34 |  |  | 6.83 | 6.83 | [7 empty] | 0.28 | 0.27 |  |  | 0.59 | 0.56 | [7 empty] | 0.4 | 0.4 |  |  | 0.64 | 0.64 | [7 empty] | 0.39 | 0.27 |  |  | 0.52 | 0.32
2023-06-21 |  | 1 |  |  | 0 | 15779.62 | 0 | 16244.25 |  |  |  |  | 0 |  |  |  | 0.69 | [21 empty] | 5356 | 4653 | [5 empty] | 6076.88 | 6262.33 | 0 | 2.78 | 0.14 | 0 | 0 | 0 | 283 | 499 | 10.3 | 35 | 1.84 | 0.133 | 96.7 | 96.7 |  | 539 |  | 209 | 2 | 7.028 | [10 empty] | 24.52 | 7.79 | 17 | 41.5 | 1.64 | 15.7 | 2.77 | 0.438 | 19.6 | 19.6 |  | 25 |  |  | 1 | [13 empty] | 1100 | 3.126 |  |  |  | 0.42 | 0.42 |  |  | 0.72 | 0.72 |  |  | 1100 | 3.126 |  |  |  | 0.45 | 0.32 |  |  | 0.76 | 0.59 |  |  | 1450 | 3.986 |  |  |  | 0.46 | 0.46 |  |  | 0.67 | 0.67 |  |  | 1450 | 3.986 |  |  |  | 0.41 | 0.28 |  |  | 0.53 | 0.34
2023-06-22 |  | 1 |  |  | 0 | 16390.71 | 0 | 16891.08 |  |  |  |  | 0 |  |  |  | 0.69 | [21 empty] | 5364 | 4645 | [5 empty] | 6213.43 | 6412.88 | 0 | 2.78 | 0.14 | 0 | 0 | 0 | [24 empty] | 25.01 | 7.76 | 15 | 41.4 | 0.76 | 10.08 | 2.89 | 0.366 | 14.7 | 14.7 |  | 22 |  | 8.6 | 1 | [18 empty] | 0.43 | 0.43 |  |  | 0.77 | 0.77 | [7 empty] | 0.43 | 0.44 |  |  | 0.56 | 0.58 | [7 empty] | 0.44 | 0.44 |  |  | 0.7 | 0.7 | [7 empty] | 0.41 | 0.28 |  |  | 0.54 | 0.36
2023-06-23 |  | 1 |  |  | 0 | 16285.75 | 0 | 16760.46 |  |  |  |  | 326.49 |  |  |  | 0.69 | [21 empty] | 5386 | 4602 | [5 empty] | 6203.13 | 6493.36 | 0 | 2.78 | 0.13 | 0 | 0 | 0 | [14 empty] | 7.22 | [9 empty] | 25.45 | 7.74 | 6 | 32 | 0.8 | 5.85 | 1.38 | 0.229 | 8.71 | 8.71 |  | 13 |  | 1.74 | 1 | [13 empty] | 1200 | 3.3 |  |  |  | 0.41 | 0.41 |  |  | 0.66 | 0.66 |  |  | 1200 | 3.3 |  |  |  | 0.39 | 0.38 |  |  | 0.52 | 0.55 |  |  | 1500 | 4.1 |  |  |  | 0.39 | 0.39 |  |  | 0.66 | 0.66 |  |  | 1500 | 4.1 |  |  |  | 0.39 | 0.27 |  |  | 0.52 | 0.34
2023-06-24 |  | 1 |  |  | 0 | 16086.33 | 0 | 16786.24 |  |  |  |  | 20.61 |  |  |  | 0.69 | [21 empty] | 5396 | 4531 | [5 empty] | 6156.07 | 6413.62 | 0 | 2.78 | 0.13 | 0 | 0 | 0 | [24 empty] | 25.7 | 7.75 | [31 empty] | 0.39 | 0.39 |  |  | 0.64 | 0.64 | [7 empty] | 0.39 | 0.32 |  |  | 0.5 | 0.49 | [7 empty] | 0.38 | 0.38 |  |  | 0.62 | 0.62 | [7 empty] | 0.37 | 0.27 |  |  | 0.59 | 0.33
2023-06-25 |  | 1 |  |  | 0 | 16521.5 | 0 | 16728 |  |  |  |  | 261.61 |  |  |  | 0.69 | [21 empty] | 5372 | 4477 | [5 empty] | 6125.14 | 6420.91 | 0 | 2.78 | 0.14 | 0 | 0 | 0 | [24 empty] | 25.73 | 7.78 | [31 empty] | 0.39 | 0.39 |  |  | 0.6 | 0.6 | [7 empty] | 0.38 | 0.32 |  |  | 0.48 | 0.49 | [7 empty] | 0.38 | 0.38 |  |  | 0.58 | 0.58 | [7 empty] | 0.37 | 0.26 |  |  | 0.45 | 0.31
2023-06-26 |  | 1 |  |  | 0 | 16065.88 | 0 | 16952.89 |  |  |  |  | 144.53 |  |  | 12.28 | 200.36 | [21 empty] | 5536 | 4641 | [5 empty] | 7419.11 | 7390.57 | 0 | 188.41 | 21.4 | 20.13 | 0 | 0 | [14 empty] | 8.54 | [9 empty] | 25.95 | 7.76 | 18 | 46.3 | 1.16 | 4.28 | 2.77 | 0.185 | 8.91 | 8.91 |  | 16 |  |  | 1 | [13 empty] | 1250 | 3.6 |  |  |  | 0.35 | 0.35 |  |  | 0.59 | 0.59 |  |  | 1250 | 3.6 |  |  |  | 0.36 | 0.36 |  |  | 0.51 | 0.5 |  |  | 1700 | 4.5 |  |  |  | 0.37 | 0.37 |  |  | 0.58 | 0.58 |  |  | 1700 | 4.5 |  |  |  | 0.37 | 0.26 |  |  | 0.45 | 0.31
2023-06-27 | 9:00 | 1 |  |  | 0 | 16062.76 | 0 | 15996.08 |  |  |  | 14 | 669.88 |  |  |  | 154.19 | 37.19 | [20 empty] | 5824 | 4669 | [5 empty] | 7869.38 | 7795.94 | 0 | 2.78 | 7.63 | 5.99 | 0 | 0 | [24 empty] | 26.08 | 7.86 | 6 | 47.1 | 1.1 | 5.4 | 1.81 | 0.123 | 10.8 | 10.8 |  | 12 |  | 1.24 | 1 | [18 empty] | 0.36 | 0.36 |  |  | 0.62 | 0.62 | [7 empty] | 0.35 | 0.35 |  |  | 0.43 | 0.45 | [7 empty] | 0.39 | 0.39 |  |  | 0.59 | 0.59 | [7 empty] | 0.38 | 0.26 |  |  | 0.53 | 0.32
2023-06-28 | 22:00 | 1 |  |  | 0 | 15893.41 | 0 | 16505.62 |  |  |  |  | 197.28 |  |  |  | 0.69 | [21 empty] | 5860 | 4718 | [5 empty] | 8033.3 | 7949.04 | 0 | 2.78 | 0 | 0 | 0 | 0 | 400 | 693 | 7.46 |  | 2.11 | 0.109 | 77.6 | 77.6 |  | 270 |  | 163 | 1 |  | 9.11 | [9 empty] | 26 | 7.85 | 11 | 27.7 | 0.992 | 6.28 | 2.56 | 0.131 | 17.4 | 17.4 |  | 12 |  | 1.51 | 1 |  |  | 150 | [10 empty] | 1600 | 3.755 | trend0 |  |  | 0.33 | 0.33 |  |  | 0.56 | 0.56 |  |  | 1600 | 3.755 | trend0 |  |  | 0.33 | 0.32 |  |  | 0.44 | 0.46 |  |  | 1700 | 4.085 | trend0 |  |  | 0.35 | 0.35 |  |  | 0.67 | 0.67 |  |  | 1700 | 4.085 | trend0 |  |  | 0.37 | 0.27 |  |  | 0.66 | 0.43
2023-06-29 |  | 1 |  |  | 0 | 16680.77 | 0 | 17385.85 |  |  |  | 28 | 273.42 |  |  | 11.35 | 161.64 | [21 empty] | 5610 | 4618 | [5 empty] | 8509.49 | 8378.09 | 0 | 163.71 | 16.59 | 16.18 | 0 | 0 | [14 empty] | 6.87 | [9 empty] | 26 | 7.82 | 3 | 32.4 | 1.31 | 9.525 | 1.68 | 0.134 | 14.5 | 14.5 |  | 14 |  | 2.63 | 1 | [13 empty] | 1450 | 3.96 |  |  |  | 0.33 | 0.33 |  |  | 0.49 | 0.49 |  |  | 1450 | 3.96 |  |  |  | 0.33 | 0.33 |  |  | 0.4 | 0.42 |  |  | 1750 | 4.26 |  |  |  | 0.36 | 0.36 |  |  | 0.58 | 0.58 |  |  | 1750 | 4.26 |  |  |  | 0.38 | 0.26 |  |  | 0.49 | 0.33
2023-06-30 |  | 1 |  |  | 0 | 16309.25 | 0 | 16985.31 | 15 |  |  | 28 | 205.08 |  |  |  | 160.33 | 27.72 | [20 empty] | 5654 | 4629 | [5 empty] | 7540.53 | 7587.71 | 0 | 165.14 | 17.1 | 16.26 | 0 | 0 | [24 empty] | 25.94 | 7.85 | 1 | 38.2 | 1.33 | 5.25 | 1.82 | 0.126 | 9.49 | 9.49 |  | 20 |  | 3.06 |  |  |  | 130 | [15 empty] | 0.33 | 0.33 |  |  | 0.49 | 0.49 | [7 empty] | 0.33 | 0.34 |  |  | 0.4 | 0.43 | [7 empty] | 0.38 | 0.38 |  |  | 0.64 | 0.64 | [7 empty] | 0.36 | 0.26 |  |  | 0.51 | 0.33

## report
[7 empty] | Mesečni izveštaj za PPOV: Budva | [23 empty] | Mesečni izveštaj za PPOV: | [8 empty] | Budva | [10 empty] | Mesečni izveštaj za PPOV: | [8 empty] | Budva | [8 empty] | Mesečni izveštaj za PPOV: | [7 empty] | Budva
[8 empty] | mesec: |  | 2023-06-01 | [16 empty] | mesec: |  |  | 2023-06-01 | [16 empty] | mesec: |  |  | 2023-06-01 | [20 empty] | mesec: |  |  | 2023-06-01
[7 empty] | kod za vreme: | [15 empty] | (strana br.1) |  |  | kod za vreme: | [16 empty] | (strana br.2) |  |  | kod za vreme: | [16 empty] | (strana br.3) | [5 empty] | kod za vreme: | [24 empty] | (strana br.4)
[7 empty] | suvo=1; mraz=2; kiša=3; oluja=4; topljenje snega=5; sneg=6; infiltracija=7. | [18 empty] | suvo=1; mraz=2; kiša=3; oluja=4; topljenje snega=5; sneg=6; infiltracija=7. | [19 empty] | suvo=1; mraz=2; kiša=3; oluja=4; topljenje snega=5; sneg=6; infiltracija=7. | [22 empty] | suvo=1; mraz=2; kiša=3; oluja=4; topljenje snega=5; sneg=6; infiltracija=7.
datum | dan | vreme uzorkovanja | kode za vreme | količina padavina | temperatura vazduha min. | temperatura vazduha max. | ulazna voda | [18 empty] | datum | dan | linija 1 aeracioni bazen 1 | [8 empty] | linija 1 aeracioni bazen 2 | [8 empty] | datum | dan | linija 2 aeracioni bazen 1 | [8 empty] | linija 2 aeracioni bazen 2 | [8 empty] | datum | dan |  | izlazna voda | [13 empty] | mulj | [8 empty] | Strom | električna energija
[7 empty] | temperatura otpadne vode | ph-vrednost | protok | [6 empty] | ulazna voda biologija | [51 empty] | izlazna voda |  |  |  |  | 24h uzorak
[9 empty] | količina otpadne vode (uključujuci fekal.) | izračunati najveći protok na suvom vremenu | količina fekalija | istaložene materije | otpad sa rešetki | pesak | masnoće | BPK 5 | HPK | NH4-N | NO3-N | NO2-N | Nukupni | Pukupni | TNb | suspendovane materije | 24h - uzorak |  |  | ph-vrednost | temperatura | suvi ostatak u aktivnom mulju | volumen mulja | indeks mulja | O2-koncentracija min. | O2-koncentracija max. | mikroskopska slika | gubitak žarenjem | ph-vrednost | temperature | suvi ostatak u aktivnom mulju | volumen mulja | indeks mulja | O2-koncentracija min. | O2-koncentracija max. | mikroskopska slika | gubitak žarenjem |  |  | ph-vrednost | temperature | suvi ostatak u aktivnom mulju | volumen mulja | indeks mulja | O2-koncentracija min. | O2-koncentracija max. | mikroskopska slika | gubitak žarenjem | ph-vrednost | temperatura | suvi ostatak u aktivnom mulju | volumen mulja | indeks mulja | O2-koncentracija min. | O2-koncentracija max. | mikroskopska slika | gubitak žarenjem |  |  |  | pH - prosečna vrednost | temperatura | istaložene materije | vidljiva dubina | BPK5 | HPK | NH4 - N | NO3 - N | NO2 - N | N ukupni | TNb | P ukupni | Suspendovane materije | 24h - uzorak | količina viska mulja | suvi ostatak viška mulja | koli;ina istalo\enog mulja | suvi ostatak istalo\enog mulja | filter presa 1 (JFF10.1) | filter presa 2 (JFF10.2) | suvi ostatak presa 1 | suvi ostatak presa 2 | odložena količina mulja | Zählerstand | potrošnja | komentari | Datum | Grenzwert TS BB | Untere Grenze Normalbereich | Obere Grenze Normalbereich | Bähschlammbereich
date | weekday | samplingtime | weather | amount of rainfall | air temperature min | air temperatute max | influent | [18 empty] | date | weekday | road 1 aeration tank 1 | [8 empty] | road 1 aeration tank 2 | [8 empty] | date | weekday | road 2 aeration tank 1 | [8 empty] | road 2 aeration tank 2 | [8 empty] | date | weekday | effluent | [14 empty] | sludge | [8 empty] | Strom | electricity
[7 empty] | temperature of waste water | ph-value | flow | [6 empty] | influent biological part | [51 empty] | outlet water |  |  |  |  | 24h example market
[9 empty] | amount of waste water (incl. feces) | calculation highest dry weather flow | amount of feces | settleable solid | screenings | grit | grease | BOD 5 | COD | NH4-N | NO3-N | NO2-N | Ntotal | Ptotal | TNb | suspended solids | 24h - example |  |  | ph-value | temperature | dryed matter of activated sludge | sludge volume | sludge volume index | O2-content min. | O2-content max. | mikroskopical picture | glowing loss | ph-value | temperature | dryed matter of activated sludge | sludge volume | sludge volume index | O2-content min. | O2-content max. | mikroskopical picture | glowing loss |  |  | ph-value | temperature | dryed matter of activated sludge | sludge volume aeration tank | sludge volume index of aeration tank | O2-content min. | O2-content max. | mikroskopical picture | glowing loss | ph-value | temperature | dryed matter of activated sludge | sludge volume aeration tank | sludge volume index of aeration tank | O2-content min. | O2-content max. | mikroskopical picture | glowing loss |  |  |  | pH - value average | temperature | settleable solids | visibilitiy depth | BOD | COD | NH4 - N | NO3 - N | NO2 - N | N total | TNb | P toal |  | 24h - example | amount of surplus sludge | dryed matter surplus sludge | amount to static/mechanical densification | dryed matter static/mechanic densification | amount to dewatering (JFF10.1) | amount to dewatering (JFF10.2) | dryed matter dewatering Line 1 | dryed matter dewatering Line 2 | disposed amount of sludge | Zählerstand | consumption | comments
|  |  |  | mm | °C | °C | °C |  | m³ | m³ | m³ | ml/l | m³ | m³ | m³ | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | ml/l |  |  |  |  | °C | g/l | ml/l | ml/g | mg/l | mg/l |  | % |  | °C | g/l | ml/l | ml/g | mg/l | mg/l |  | % |  |  |  | °C | g/l | ml/l | ml/g | mg/l | mg/l |  | % |  | °C | g/l | ml/l | ml/g | mg/l | mg/l |  | % |  |  | m³ |  | °C | ml/l | cm | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l |  | m³ | g/l | m³ | g/l | m³ | m³ | % | % | m³ | kWh | kWh
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27
2023-06-01 | TTT | 9:00 | 1 |  | 18 | 28 |  |  | 14638.83 | 14638.83 |  |  | 2 | [12 empty] | 2023-06-01 | TTT | [5 empty] | 5.96 | 7.1 | [7 empty] | 5.465 | 7.005 |  |  | 2023-06-01 | TTT |  |  | 3.2 | 1150 | 359.375 | 0.51 | 0.87 | trend- |  |  |  | 3.2 | 1150 | 359.375 | 0.395 | 0.84 | trend- |  | 2023-06-01 | TTT | 14620 | 7.69 | 22.53 |  |  | 28 | 31.9 | 8.3 | 2.43 | 0.233 | 20.4 | 20.4 | 1.95 | 19 |  | 544.64 |  |  | 12.31 | 0.69 | 130.9 |  | 28.07 | 28 |  | 6860 |  | 2023-06-01 | 4.96 | 80 | 60 | 150
2023-06-02 | TTT | [7 empty] | 15503.24 | [16 empty] | 2023-06-02 | TTT | [5 empty] | 5.96 | 6.94 | [7 empty] | 5.05 | 6.43 |  |  | 2023-06-02 | TTT | [5 empty] | 0.46 | 0.99 | [7 empty] | 0.305 | 1.13 |  |  | 2023-06-02 | TTT | 1: 15750; 2: 7.69; 3: 22.79; 6: 38; 7: 38.4; 8: 7; 9: 1.88; 10: 0.126; 11: 11.7; 12: 11.7; 14: 20; 16: 0.01; 20: 0.69; 21: 2.78; 26: 7011 | 2023-06-02 | 4.96 | 80 | 60 | 150
2023-06-03 | TTT | [7 empty] | 15165.31 | [16 empty] | 2023-06-03 | TTT | [5 empty] | 5.93 | 6.65 | [7 empty] | 4.895 | 5.76 |  |  | 2023-06-03 | TTT | [5 empty] | 0.41 | 0.75 | [7 empty] | 0.335 | 0.655 |  |  | 2023-06-03 | TTT | 1: 15400; 2: 7.67; 3: 22.92; 16: 0.01; 20: 0.69; 21: 2.78; 26: 7106 | 2023-06-03 | 4.96 | 80 | 60 | 150
2023-06-04 | TTT | [7 empty] | 14283.28 | [16 empty] | 2023-06-04 | TTT | [5 empty] | 5.56 | 6.59 | [7 empty] | 4.64 | 7.55 |  |  | 2023-06-04 | TTT | [5 empty] | 0.42 | 0.69 | [7 empty] | 0.37 | 0.49 |  |  | 2023-06-04 | TTT | 1: 15208; 2: 7.69; 3: 23.2; 20: 0.69; 21: 2.78; 26: 7108 | 2023-06-04 | 4.96 | 80 | 60 | 150
2023-06-05 | TTT | 9:00 | 1 |  | 20 | 27 |  |  | 14477.24 | 14477.24 | [15 empty] | 2023-06-05 | TTT | [5 empty] | 5.33 | 6.24 | [7 empty] | 6.87 | 8.275 |  |  | 2023-06-05 | TTT |  |  | 3.706 | 1450 | 391.2574 | 0.39 | 0.65 |  |  |  |  | 3.706 | 1450 | 391.2574 | 0.31 | 0.47 |  |  | 2023-06-05 | TTT | 1: 15321; 2: 7.67; 3: 23.25; 6: 14; 7: 31.2; 8: 6.44; 9: 2.01; 10: 0.176; 11: 12.8; 12: 12.8; 13: 1.8; 14: 13; 16: 0.13; 20: 0.69; 21: 2.78; 26: 7236 | 2023-06-05 | 4.96 | 80 | 60 | 150
2023-06-06 | TTT | 9:00 | 1 |  | 18 | 29 |  |  | 13342.16 | 13342.16 | [15 empty] | 2023-06-06 | TTT | [5 empty] | 5.15 | 5.88 | [7 empty] | 7.07 | 8.315 |  |  | 2023-06-06 | TTT | [5 empty] | 0.4 | 0.61 | trend- | [6 empty] | 0.35 | 0.43 | trend- |  | 2023-06-06 | TTT | 1: 14147.34; 2: 7.65; 3: 23.2; 6: 34; 7: 35.9; 8: 6.64; 9: 2.11; 10: 0.172; 11: 13.2; 12: 13.2; 14: 22; 20: 0.69; 21: 2.78; 26: 7078 | 2023-06-06 | 4.96 | 80 | 60 | 150
2023-06-07 | TTT | 9:00 | 1 |  | 19 | 27 |  |  | 13544.53 | 13544.53 |  |  |  | 7 |  | 379 | 478 | 16 | 0.644 | 0.144 | 69.7 | 6.14 | 69.7 | 299 | 1 | 2023-06-07 | TTT | [5 empty] | 4.93 | 5.83 | [7 empty] | 6.915 | 8.595 |  |  | 2023-06-07 | TTT | [5 empty] | 0.42 | 0.69 | [7 empty] | 0.345 | 0.425 |  |  | 2023-06-07 | TTT | 1: 14327.15; 2: 7.69; 3: 23.31; 6: 1; 7: 106; 8: 6.88; 9: 2.42; 10: 0.177; 11: 15.5; 12: 15.5; 13: 3.99; 14: 136; 20: 0.69; 21: 2.78; 24: 14; 26: 6911 | 2023-06-07 | 4.96 | 80 | 60 | 150
2023-06-08 | TTT | [7 empty] | 13701.9 |  |  |  | 2 | [12 empty] | 2023-06-08 | TTT | [5 empty] | 5 | 6.05 | [7 empty] | 6.76 | 8.45 |  |  | 2023-06-08 | TTT |  |  | 4.084 | 1775 | 434.6229 | 0.42 | 2.63 |  |  |  |  | 4.084 | 1775 | 434.6229 | 0.3 | 0.425 |  |  | 2023-06-08 | TTT | 1: 14359.34; 2: 7.72; 3: 23.47; 6: 23; 7: 35.3; 8: 7.56; 9: 2.24; 10: 0.233; 11: 12.5; 12: 12.5; 13: 2.34; 14: 31; 20: 0.69; 21: 2.78; 26: 6580 | 2023-06-08 | 4.96 | 80 | 60 | 150
2023-06-09 | TTT | [7 empty] | 14327.98 | [16 empty] | 2023-06-09 | TTT | [5 empty] | 5.8 | 6.95 | [7 empty] | 6.86 | 8.845 |  |  | 2023-06-09 | TTT | [5 empty] | 0.39 | 0.59 | [7 empty] | 0.33 | 0.41 |  |  | 2023-06-09 | TTT | 1: 15024.1; 2: 7.72; 3: 23.59; 6: 13; 7: 36.7; 8: 11.25; 9: 2.54; 10: 0.288; 11: 17.32; 12: 17.32; 13: 1.89; 14: 12; 20: 0.69; 21: 2.78; 26: 6694 | 2023-06-09 | 4.96 | 80 | 60 | 150
2023-06-10 | TTT |  | 1 |  | 20 | 28 |  |  | 15294.67 | 15294.67 | [15 empty] | 2023-06-10 | TTT | [5 empty] | 6.53 | 7.3 | [7 empty] | 7.61 | 9.16 |  |  | 2023-06-10 | TTT | [5 empty] | 0.38 | 0.55 | [7 empty] | 0.305 | 0.405 |  |  | 2023-06-10 | TTT | 1: 16309.98; 2: 7.58; 3: 23.58; 16: 0.64; 20: 0.69; 21: 2.78; 26: 6812 | 2023-06-10 | 4.96 | 80 | 60 | 150
2023-06-11 | TTT |  | 1 |  | 21 | 29 |  |  | 15525.39 | 15525.39 | [15 empty] | 2023-06-11 | TTT | [5 empty] | 6.32 | 7.34 | [7 empty] | 7.215 | 9.155 |  |  | 2023-06-11 | TTT | [5 empty] | 0.38 | 0.56 | [7 empty] | 0.315 | 0.415 |  |  | 2023-06-11 | TTT | 1: 16548.6; 2: 7.43; 3: 23.92; 16: 0.31; 20: 0.69; 21: 2.78; 26: 6819 | 2023-06-11 | 4.96 | 80 | 60 | 150
2023-06-12 | TTT | 9:00 | 3 | 5.8 | 18 | 28 |  |  | 14842.35 | [16 empty] | 2023-06-12 | TTT | [5 empty] | 6.56 | 7.5 | [7 empty] | 7.38 | 8.875 |  |  | 2023-06-12 | TTT | [5 empty] | 0.39 | 0.56 | [7 empty] | 0.32 | 0.43 |  |  | 2023-06-12 | TTT | 1: 15672.75; 2: 7.45; 3: 23.99; 16: 0.35; 20: 0.69; 21: 2.78; 26: 6670 | 2023-06-12 | 4.96 | 80 | 60 | 150
2023-06-13 | TTT | 9:00 | 1 |  | 19 | 29 |  |  | 14833.47 | 14833.47 | [15 empty] | 2023-06-13 | TTT | [5 empty] | 6.47 | 7.56 | [7 empty] | 7.285 | 9.08 |  |  | 2023-06-13 | TTT | [5 empty] | 0.39 | 0.62 | trend- | [6 empty] | 0.34 | 0.46 | trend- |  | 2023-06-13 | TTT | 1: 15339.41; 2: 7.55; 3: 24.06; 6: 40; 7: 58.6; 8: 19; 9: 3.05; 10: 0.409; 11: 23.4; 12: 23.4; 13: 3.64; 14: 131; 16: 0.91; 20: 0.69; 21: 2.78; 26: 6785 | 2023-06-13 | 4.96 | 80 | 60 | 150
2023-06-14 | TTT | [7 empty] | 14926.73 | [6 empty] | 182 | 444 | 16.4 | 0.584 | 0.149 | 53.9 | 6.53 | 53.9 | 251 | 1 | 2023-06-14 | TTT | [5 empty] | 6.9 | 7.8 | [7 empty] | 0.285 | 8.93 |  |  | 2023-06-14 | TTT |  |  | 4.098 | 1525 | 372.1327 | 0.39 | 0.56 |  |  |  |  | 4.098 | 1525 | 372.1327 | 0.33 | 0.43 |  |  | 2023-06-14 | TTT | 1: 10111.05; 2: 7.63; 3: 24.44; 6: 33; 7: 37.2; 9: 2.6; 10: 0.353; 11: 21; 12: 21; 13: 2.13; 14: 21; 16: 0.06; 20: 0.69; 21: 2.78; 26: 6617 | 2023-06-14 | 4.96 | 80 | 60 | 150
2023-06-15 | TTT | [7 empty] | 18501.38 | [15 empty] | 2 | 2023-06-15 | TTT | [5 empty] | 7.06 | 7.88 | [7 empty] | 0.28 | 0.4 |  |  | 2023-06-15 | TTT | [5 empty] | 0.37 | 0.97 | [7 empty] | 0.295 | 0.46 |  |  | 2023-06-15 | TTT | 1: 19253.86; 2: 7.7; 3: 23.77; 6: 23; 7: 43.9; 8: 17.5; 9: 2.9; 10: 0.424; 11: 21.4; 12: 21.4; 13: 3.39; 14: 26; 16: 0.17; 20: 0.69; 21: 2.78; 26: 7367 | 2023-06-15 | 4.96 | 80 | 60 | 150
2023-06-16 | TTT | [7 empty] | 16514.5 | [16 empty] | 2023-06-16 | TTT | [5 empty] | 7.34 | 7.84 | [7 empty] | 0.28 | 0.485 |  |  | 2023-06-16 | TTT | [5 empty] | 0.39 | 0.74 | [7 empty] | 0.35 | 0.465 |  |  | 2023-06-16 | TTT | 1: 17139.73; 2: 7.7; 3: 23.5; 16: 0.96; 20: 0.69; 21: 2.78; 26: 7352 | 2023-06-16 | 4.96 | 80 | 60 | 150
2023-06-17 | TTT | [7 empty] | 16150.2 |  |  |  | 2 | [12 empty] | 2023-06-17 | TTT | [5 empty] | 7.32 | 7.85 | [7 empty] | 0.295 | 0.39 |  |  | 2023-06-17 | TTT | [5 empty] | 0.46 | 0.74 | [7 empty] | 0.365 | 0.455 |  |  | 2023-06-17 | TTT | 1: 16776.52; 2: 7.72; 3: 23.16; 20: 0.69; 21: 2.78; 26: 7480 | 2023-06-17 | 4.96 | 80 | 60 | 150
2023-06-18 | TTT | [7 empty] | 16182.28 | [16 empty] | 2023-06-18 | TTT | [5 empty] | 6.61 | 7.93 | [7 empty] | 0.305 | 0.455 |  |  | 2023-06-18 | TTT | [5 empty] | 0.45 | 0.69 | [7 empty] | 0.37 | 0.465 |  |  | 2023-06-18 | TTT | 1: 16729.23; 2: 7.72; 3: 23.41; 20: 0.69; 21: 2.78; 26: 7385 | 2023-06-18 | 4.96 | 80 | 60 | 150
2023-06-19 | TTT | [7 empty] | 15657.41 | [16 empty] | 2023-06-19 | TTT | [5 empty] | 6.11 | 7.43 |  |  |  |  | 3.99 | 1450 | 363.4085 | 0.295 | 1.64 | trend- |  | 2023-06-19 | TTT |  |  | 4.6 | 1600 | 347.8261 | 0.43 | 0.66 | trend- |  |  |  | 4.6 | 1600 | 347.8261 | 0.34 | 0.445 | trend- |  | 2023-06-19 | TTT | 1: 16168.85; 2: 7.71; 3: 23.73; 6: 41; 7: 50; 8: 15.8; 9: 3.48; 10: 0.373; 11: 19.8; 12: 19.8; 13: 1.92; 14: 28; 20: 0.69; 21: 2.78; 26: 7609 | 2023-06-19 | 4.96 | 80 | 60 | 150
2023-06-20 | TTT |  | 1 | [5 empty] | 15807.26 | 15807.26 | [15 empty] | 2023-06-20 | TTT | [5 empty] | 0.34 | 6.83 | [7 empty] | 0.275 | 0.575 |  |  | 2023-06-20 | TTT | [5 empty] | 0.4 | 0.64 | [7 empty] | 0.33 | 0.42 |  |  | 2023-06-20 | TTT | 1: 10582.85; 2: 7.74; 3: 24.95; 6: 40; 7: 56.2; 8: 15; 10: 0.398; 11: 20.2; 12: 20.2; 13: 1.8; 14: 77; 20: 0.69; 21: 2.78; 24: 28; 26: 7918 | 2023-06-20 | 4.96 | 80 | 60 | 150
2023-06-21 | TTT |  | 1 | [5 empty] | 15779.62 | 15779.62 | [5 empty] | 283 | 499 | 35 | 1.84 | 0.133 | 96.7 | 10.3 | 96.7 | 539 | 2 | 2023-06-21 | TTT |  |  | 3.126 | 1100 | 351.8874 | 0.42 | 0.72 |  |  |  |  | 3.126 | 1100 | 351.8874 | 0.385 | 0.675 |  |  | 2023-06-21 | TTT |  |  | 3.986 | 1450 | 363.7732 | 0.46 | 0.67 |  |  |  |  | 3.986 | 1450 | 363.7732 | 0.345 | 0.435 |  |  | 2023-06-21 | TTT | 1: 16244.25; 2: 7.79; 3: 24.52; 6: 17; 7: 41.5; 8: 15.7; 9: 2.77; 10: 0.438; 11: 19.6; 12: 19.6; 13: 1.64; 14: 25; 20: 0.69; 21: 2.78; 26: 10009 | 2023-06-21 | 4.96 | 80 | 60 | 150
2023-06-22 | TTT |  | 1 | [5 empty] | 16390.71 | 16390.71 | [15 empty] | 2023-06-22 | TTT | [5 empty] | 0.43 | 0.77 | [7 empty] | 0.435 | 0.57 |  |  | 2023-06-22 | TTT | [5 empty] | 0.44 | 0.7 | [7 empty] | 0.345 | 0.45 |  |  | 2023-06-22 | TTT | 1: 16891.08; 2: 7.76; 3: 25.01; 6: 15; 7: 41.4; 8: 10.08; 9: 2.89; 10: 0.366; 11: 14.7; 12: 14.7; 13: 0.76; 14: 22; 20: 0.69; 21: 2.78; 26: 10009 | 2023-06-22 | 4.96 | 80 | 60 | 150
2023-06-23 | TTT |  | 1 | [5 empty] | 16285.75 | 16285.75 | [15 empty] | 2023-06-23 | TTT |  |  | 3.3 | 1200 | 363.6364 | 0.41 | 0.66 |  |  |  |  | 3.3 | 1200 | 363.6364 | 0.385 | 0.535 |  |  | 2023-06-23 | TTT |  |  | 4.1 | 1500 | 365.8537 | 0.39 | 0.66 |  |  |  |  | 4.1 | 1500 | 365.8537 | 0.33 | 0.43 |  |  | 2023-06-23 | TTT | 1: 16760.46; 2: 7.74; 3: 25.45; 6: 6; 7: 32; 8: 5.85; 9: 1.38; 10: 0.229; 11: 8.71; 12: 8.71; 13: 0.8; 14: 13; 16: 326.49; 20: 0.69; 21: 2.78; 26: 9988 | 2023-06-23 | 4.96 | 80 | 60 | 150
2023-06-24 | TTT |  | 1 | [5 empty] | 16086.33 | 16086.33 | [15 empty] | 2023-06-24 | TTT | [5 empty] | 0.39 | 0.64 | [7 empty] | 0.355 | 0.495 |  |  | 2023-06-24 | TTT | [5 empty] | 0.38 | 0.62 | [7 empty] | 0.32 | 0.46 |  |  | 2023-06-24 | TTT | 1: 16786.24; 2: 7.75; 3: 25.7; 16: 20.61; 20: 0.69; 21: 2.78; 26: 9927 | 2023-06-24 | 4.96 | 80 | 60 | 150
2023-06-25 | TTT |  | 1 | [5 empty] | 16521.5 | 16521.5 | [15 empty] | 2023-06-25 | TTT | [5 empty] | 0.39 | 0.6 | [7 empty] | 0.35 | 0.485 |  |  | 2023-06-25 | TTT | [5 empty] | 0.38 | 0.58 | [7 empty] | 0.315 | 0.38 |  |  | 2023-06-25 | TTT | 1: 16728; 2: 7.78; 3: 25.73; 16: 261.61; 20: 0.69; 21: 2.78; 26: 9849 | 2023-06-25 | 4.96 | 80 | 60 | 150
2023-06-26 | TTT |  | 1 | [5 empty] | 16065.88 | 16065.88 | [15 empty] | 2023-06-26 | TTT |  |  | 3.6 | 1250 | 347.2222 | 0.35 | 0.59 |  |  |  |  | 3.6 | 1250 | 347.2222 | 0.36 | 0.505 |  |  | 2023-06-26 | TTT |  |  | 4.5 | 1700 | 377.7778 | 0.37 | 0.58 |  |  |  |  | 4.5 | 1700 | 377.7778 | 0.315 | 0.38 |  |  | 2023-06-26 | TTT | 16952.89 | 7.76 | 25.95 |  |  | 18 | 46.3 | 4.28 | 2.77 | 0.185 | 8.91 | 8.91 | 1.16 | 16 |  | 144.53 |  |  | 12.28 | 200.36 | 188.41 |  |  |  |  | 10177 |  | 2023-06-26 | 4.96 | 80 | 60 | 150
2023-06-27 | TTT | 9:00 | 1 | [5 empty] | 16062.76 | 16062.76 | [15 empty] | 2023-06-27 | TTT | [5 empty] | 0.36 | 0.62 | [7 empty] | 0.35 | 0.44 |  |  | 2023-06-27 | TTT | [5 empty] | 0.39 | 0.59 | [7 empty] | 0.32 | 0.425 |  |  | 2023-06-27 | TTT | 15996.08 | 7.86 | 26.08 |  |  | 6 | 47.1 | 5.4 | 1.81 | 0.123 | 10.8 | 10.8 | 1.1 | 12 |  | 669.88 |  |  |  | 154.19 | 2.78 | 37.19 |  | 14 |  | 10493 |  | 2023-06-27 | 4.96 | 80 | 60 | 150
2023-06-28 | TTT | 22:00 | 1 | [5 empty] | 15893.41 | 15893.41 | [5 empty] | 400 | 693 |  | 2.11 | 0.109 | 77.6 | 7.46 | 77.6 | 270 | 1 | 2023-06-28 | TTT |  |  | 3.755 | 1600 | 426.0985 | 0.33 | 0.56 | trend0 |  |  |  | 3.755 | 1600 | 426.0985 | 0.325 | 0.45 | trend0 |  | 2023-06-28 | TTT |  |  | 4.085 | 1700 | 416.1567 | 0.35 | 0.67 | trend0 |  |  |  | 4.085 | 1700 | 416.1567 | 0.32 | 0.545 | trend0 |  | 2023-06-28 | TTT | 16505.62 | 7.85 | 26 |  | 150 | 11 | 27.7 | 6.28 | 2.56 | 0.131 | 17.4 | 17.4 | 0.992 | 12 |  | 197.28 |  |  |  | 0.69 | 2.78 |  |  |  |  | 10578 |  | 2023-06-28 | 4.96 | 80 | 60 | 150
2023-06-29 | TTT |  | 1 | [5 empty] | 16680.77 | 16680.77 | [15 empty] | 2023-06-29 | TTT |  |  | 3.96 | 1450 | 366.1616 | 0.33 | 0.49 |  |  |  |  | 3.96 | 1450 | 366.1616 | 0.33 | 0.41 |  |  | 2023-06-29 | TTT |  |  | 4.26 | 1750 | 410.7981 | 0.36 | 0.58 |  |  |  |  | 4.26 | 1750 | 410.7981 | 0.32 | 0.41 |  |  | 2023-06-29 | TTT | 17385.85 | 7.82 | 26 |  |  | 3 | 32.4 | 9.525 | 1.68 | 0.134 | 14.5 | 14.5 | 1.31 | 14 |  | 273.42 |  |  | 11.35 | 161.64 | 163.71 |  |  | 28 |  | 10228 |  | 2023-06-29 | 4.96 | 80 | 60 | 150
2023-06-30 | TTT |  | 1 | [5 empty] | 16309.25 | 16309.25 |  |  | 15 | [12 empty] | 2023-06-30 | TTT | [5 empty] | 0.33 | 0.49 | [7 empty] | 0.335 | 0.415 |  |  | 2023-06-30 | TTT | [5 empty] | 0.38 | 0.64 | [7 empty] | 0.31 | 0.42 |  |  | 2023-06-30 | TTT | 16985.31 | 7.85 | 25.94 |  | 130 | 1 | 38.2 | 5.25 | 1.82 | 0.126 | 9.49 | 9.49 | 1.33 | 20 |  | 205.08 |  |  |  | 160.33 | 165.14 | 27.72 |  | 28 |  | 10283 |  | 2023-06-30 | 4.96 | 80 | 60 | 150
[96 empty] | 4.96 | 80 | 60 | 150
|  |  | suma | 5.8 |  |  |  | suma | 465296.09 | 279539.53 |  |  | 21 | 7 | [52 empty] | suma | 1: 472025.54; 5: broj prekoračenih limita; 6: 7; 7: 0; 11: 17; 13: 15; 15: suma; 16: 2647.09; 18: 0; 20: 694.46; 21: 720.44; 24: 140; 26: 242939
[8 empty] | max |  | 16680.77 |  |  |  |  | prosek | 311 | 528.5 | 22.4667 | 1.2945 | 0.13375 | 74.475 | 7.6075 | 74.475 | [5 empty] | prosek | 3.5482 |  | 371.0012 | [5 empty] | prosek | 3.6218 |  | 369.7358 | [7 empty] | prosek | 4.0619 |  | 383.9574 | [5 empty] | prosek | 4.0619 |  | 383.9574 | [6 empty] | 5: prosek; 6: 20.25; 7: 43.395; 8: 9.6703; 9: 2.3863; 10: 0.2547; 11: 15.6665; 12: 15.6665; 13: 1.8857; 16: prosek; 19: 11.98; 22: 32.455; 23: 28.07
[33 empty] | 0.33 | 7.93 | [7 empty] | 0.275 | 9.16 | [9 empty] | 0.35 | 2.63 | [7 empty] | 0.295 | 1.13
[33 empty] | min | max | [7 empty] | min | max | [9 empty] | min | max | [7 empty] | min | max
Formulas:
datum = [datum]
Datum = [datum]

## trend
Normalni opseg